## Sheet1
Building ID | Ss | S1 | TL | Cd | R | Ie | rho | Ct | x | site class | Building length | Building width | number of parallel bays | number of perpendicular bays | number of story | first story height | typical story height | floor dead load | roof dead load | floor live load | roof live load | fc | concrete type | concrete cover | fy | area of bar 1 | area of bar 2 | allowable story drift | wall length | initial thickness | number of walls | edge wall | bias - DL | bias - LL | bias - fc | bias - fy
23286 | 2.384 | 1.014 | 12 | 5 | 5 | 1.5 | 1.3 | 0.02 | 0.75 | D | 75 | 150 | 3 | 6 | 6 | 12 | 12 | 125 | 125 | 40 | 40 | 6 | normal | 2.5 | 60 | 2.25 | 0.44 | 0.02 | 384 | 12 | 2 | No | 1.05 | 0.25 | 1.3 | 1.15